Stardust Calibration Log Sheet

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	2:02	33.8	-30	.994 nA			1	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Nav Filter	135714	.070				Off	Off	
Nav Filter	135736	.070	3584	3705	3826	Off	Off	
Nav Filter	140110	.070	3691	3804	3918	Off	Off	
Nav Filter	140523	.045	2397			Off	Off	
Nav Filter	140542	.045		2584		Off	Off	
Nav Filter	140610	.045		2486		Off	Off	
Nav Filter	141223	.025		1520		Off	Off	
Nav Filter	141249	.025		1626		Off	Off	
Nav Filter	141306	.025		1525		Off	Off	
Nav Filter	141752	.01		810		Off	Off	
Nav Filter	141823	.01		905		Off	Off	
Nav Filter	141852	.01		809		Off	Off	
Nav Filter	141920	.01		902		Off	Off	
Nav Filter	142427	.00		413		Off	Off	
Nav Filter	142444	.00		413		Off	Off	
Nav Filter	142502	.00		414		Off	Off	
Nav Filter	142521	.00		413		Off	Off	

								

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	2:33			.981 nA			2	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Hi Res	143612	.110		3174		Off	Off	
Hi Res	143642	.110		3118		Off	Off	
Hi Res	143701	.110		3170		Off	Off	
Hi Res	143730	.110		3114		Off	Off	
Hi Res	144116	.08		2408		Off	Off	
Hi Res	144132	.08		2368		Off	Off	
Hi Res	144151	.08		2417		Off	Off	
Hi Res	144208	.08		2365		Off	Off	
Hi Res	144424	.05		1615		Off	Off	
Hi Res	144433	.05		1670		Off	Off	
Hi Res	144512	.05		1616		Off	Off	
Hi Res	144530	.05		1664		Off	Off	
Hi Res	144645	.02		914		Off	Off	
Hi Res	144703	.02		870		Off	Off	
Hi Res	144720	.02		914		Off	Off	
Hi Res	144754	.02		862		Off	Off	
Hi Res	144843	.005		547		Off	Off	
Hi Res	144900	.005		491		Off	Off	
Hi Res	144930	.005		540		Off	Off	
Hi Res	144946	.005		495		Off	Off	
Hi Res	145016	.005		538		Off	Off	
Hi Res	145032	.005		492		Off	Off	
Hi Res	145157	.000		409		Off	Off	
Hi Res	145222	.000		414		Off	Off	
Hi Res	145241	.000		412		Off	Off	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98							3	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Hi Res	145257	.000		414		Off	Off	
								
Hi Res	145723	.005		78		Off	On	
Hi Res	145739	.005		83		Off	On	
Hi Res	145755	.005		78		Off	On	
Hi Res	145821	.005		83		Off	On	
Hi Res	145837	.005		78		Off	On	
Hi Res	145853	.005		83		Off	On	
Hi Res	145928	.0		70		Off	On	
Hi Res	145941	.0		70		Off	On	
Hi Res	145953	.0		70		Off	On	
Hi Res	150005	.0		70		Off	On	
Hi Res	150104	.02		108		Off	On	
Hi Res	150117	.02				Off	On	
Hi Res	150132	.02				Off	On	
Hi Res	150145	.02				Off	On	
Hi Res	150201	.02				Off	On	
Hi Res	150217	.02		112		Off	On	
Hi Res	150327	.05		154		Off	On	
Hi Res	150353	.05		157		Off	On	
Hi Res	150409	.05		154		Off	On	
Hi Res	150423	.05		157		Off	On	
Hi Res	150513	.08		190		Off	On	
Hi Res	150529	.08		192		Off	On	
Hi Res	150545	.08		190		Off	On	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98							4	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Hi Res	150601	.08		192		Off	On	

								

								

								

								

								

								

								

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	3:18 pm	34.4	-30	4.0nA			5	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
NH2	152041	.25		3140		Off	Off	
NH2	152104	.25		3170		Off	Off	
NH2	152121	.25		3139		Off	Off	
NH2	152139	.25		3164		Off	Off	
NH2	152554	.18		2388		Off	Off	
NH2	152613	.18		2376		Off	Off	
NH2	152629	.18		2402		Off	Off	
NH2	152648	.18		2384		Off	Off	
NH2	152752	.10		1520		Off	Off	
NH2	152829	.10		1494		Off	Off	
NH2	152847	.10		1510		Off	Off	
NH2	152905	.10		1496		Off	Off	
NH2	153023	.03		716		Off	Off	
NH2	153041	.03		744		Off	Off	
NH2	153059	.03		724		Off	Off	
NH2	153117	.03		745		Off	Off	
NH2	153211	.00		412		Off	Off	
NH2	153227	.00		411		Off	Off	
NH2	153347	.00		411		Off	Off	
NH2	153700	.03		98		Off	On	
NH2	153717	.03		100		Off	On	
NH2	153731	.03		98		Off	On	
NH2	153745	.03		101		Off	On	
NH2	153824	.10				Off	On	
NH2	153837	.10		149		Off	On	
Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	3:18 pm	34.4	-30				6	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
NH2	153851	.10		149		Off	On	
NH2	153905	.10				Off	On	
NH2	153942	.18		190		Off	On	
NH2	153955	.18		191		Off	On	
NH2	154009	.18		190		Off	On	
NH2	154023	.18		191		Off	On	
NH2	154052	.25		222		Off	On	
NH2	154105	.25		222		Off	On	
NH2	154119	.25		222		Off	On	
NH2	154133	.25		222		Off	On	
								
O1D	155045	.32		3172		Off	Off	
O1D	155107	.32		3166		Off	Off	
O1D	155123	.32		3172		Off	Off	
O1D	155143	.32		3148		Off	Off	
O1D	155355	.225		2349		Off	Off	
O1D	155413	.225		2336		Off	Off	
O1D	155432	.225		2350		Off	Off	
O1D	155449	.225		2334		Off	Off	
O1D	155717	.13		1548		Off	Off	
O1D	155736	.13		1512		Off	Off	
O1D	155753	.13		1527		Off	Off	
O1D	155812	.13		1520		Off	Off	
O1D	155950	.04		756		Off	Off	
O1D	160007	.04		738		Off	Off	
Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	4:03 pm		-30				7	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
O1D	160026	.04		758		Off	Off	
O1D	160043	.04		740		Off	Off	
O1D	160135	.00		412		Off	Off	
O1D	160151	.00		412		Off	Off	
O1D	160233	.00		413		Off	Off	
O1D	160251	.00		412		Off	Off	
								
O1D	160437	.04		100		Off	On	
O1D	160451	.04		100		Off	On	
O1D	160505	.04		100		Off	On	
O1D	160519	.04		100		Off	On	
O1D	160603	.13		149		Off	On	
O1D	160619	.13		150		Off	On	
O1D	160634	.13		149		Off	On	
O1D	160649	.13		150		Off	On	
O1D	160720	.225		188		Off	On	
O1D	160735	.225		190		Off	On	
O1D	160749	.225		188		Off	On	
O1D	160803	.225		190		Off	On	
O1D	160831	.32		222		Off	On	
O1D	160847	.32		222		Off	On	
O1D	160901	.32		222		Off	On	
O1D	160915	.32		223		Off	On	
O1D	160947	.00		70		Off	On	
O1D	161002	.00		70		Off	On	
Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	4:03 pm		-30				8	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
O1D	161015	.00		70		Off	On	
O1D	161027	.00		70		Off	On	

								

								

								

								

								

								

								

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	4:03 pm	34.51	-30	18.00nA			9	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
C2	162126	.36		3132		Off	Off	
C2	162149	.36		3108		Off	Off	
C2	162209	.36		3128		Off	Off	
C2	162228	.36		3107		Off	Off	
C2	162415	.26		2369		Off	Off	
C2	162435	.26		2354		Off	Off	
C2	162454	.26		2372		Off	Off	
C2	162514	.26		2355		Off	Off	
C2	162910	.15		1539		Off	Off	
C2	162929	.15		1530		Off	Off	
C2	162948	.15		1540		Off	Off	
C2	163007	.15		1527		Off	Off	
C2	163239	.05		788		Off	Off	
C2	163258	.05		774		Off	Off	
C2	163318	.05		790		Off	Off	
C2	163335	.05		772		Off	Off	
C2	163452	.00		409		Off	Off	
C2	163508	.00		409		Off	Off	
C2	163527	.00		409		Off	Off	
C2	163546	.00		409		Off	Off	
C2	164034	.00		70		Off	On	
C2	164048	.00		70		Off	On	
C2	164100	.00		70		Off	On	
C2	164130	.00		70		Off	On	
								
Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	4:43 pm	34.51	-30	18.00nA			10	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
C2	171228	.00				Off	Off	
C2	171246	.00				Off	Off	
C2	171306	.00				Off	Off	
C2	171325	.00				Off	Off	
C2	171438	.00		70		Off	On	
C2	171450	.00		70		Off	On	
C2	171502	.00		70		Off	On	
C2	171500	.00		70		Off	On	
C2	171550	.05		104		Off	On	
C2	171604	.05		102		Off	On	
C2	171620	.05		104		Off	On	
C2	171636	.05		102		Off	On	
C2	171709	.15		150		Off	On	
C2	171725	.15		150		Off	On	
C2	171741	.15		150		Off	On	
C2	171754	.15		150		Off	On	
C2	171828	.26		190		Off	On	
C2	171842	.26		190		Off	On	
C2	171856	.26		190		Off	On	
C2	171910	.26		190		Off	On	
C2	171932	.36		220		Off	On	
C2	171946	.36		220		Off	On	
C2	172000	.36		220		Off	On	
C2	172014	.36		220		Off	On	
								
Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	5:26 pm	34.51	-30	18.00nA			11	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
IR Cont	172811	.16		3060		Off	Off	
IR Cont	172828	.16		3104		Off	Off	
IR Cont	172846	.16		3061		Off	Off	
IR Cont	172905	.16		3089		Off	Off	
IR Cont	173000	.12		2422		Off	Off	
IR Cont	173018	.12		2381		Off	Off	
IR Cont	173037	.12		2414		Off	Off	
IR Cont	173054	.12		2388		Off	Off	
IR Cont	173243	.07		1558		Off	Off	
IR Cont	173302	.07		1592		Off	Off	
IR Cont	173321	.07		1552		Off	Off	
IR Cont	173338	.07		1584		Off	Off	
IR Cont	173555	.025		830		Off	Off	
IR Cont	173612	.025		798		Off	Off	
IR Cont	173630	.025		834		Off	Off	
IR Cont	173648	.025		799		Off	Off	
IR Cont	173723	.00		413		Off	Off	
IR Cont	173740	.00		412		Off	Off	
IR Cont	173759	.00		411		Off	Off	
IR Cont	173816	.00		410		Off	Off	
IR Cont	173930	.00		70		Off	On	
IR Cont	173942	.00		70		Off	On	
IR Cont	173954	.00		70		Off	On	
IR Cont	174006	.00		70		Off	On	
IR Cont	174038	.025		106		Off	On	
Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	4:03 pm	34.51	-30				12	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
IR Cont	174053	.025		104		Off	On	
IR Cont	174109	.025		106		Off	On	
IR Cont	174124	.025		104		Off	On	
IR Cont	174204	.07		152		Off	On	
IR Cont	174219	.07		151		Off	On	
IR Cont	174235	.07		152		Off	On	
IR Cont	174302	.07		151		Off	On	
IR Cont	174330	.12		192		Off	On	
IR Cont	174344	.12		191		Off	On	
IR Cont	174358	.12		192		Off	On	
IR Cont	174412	.12		190		Off	On	
IR Cont	174431	.16		218		Off	On	
IR Cont	174448	.16		218		Off	On	
IR Cont	174504	.16		219		Off	On	
IR Cont	174520	.16		218		Off	On	

								

								

								
								
Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	5:55 pm	34.5	-29.7	18.00nA			13	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Yel Cont	175414	.40		3105		Off	Off	
Yel Cont	175432	.40		3118		Off	Off	
Yel Cont	175452	.40		3105		Off	Off	
Yel Cont	175510	.40		3124		Off	Off	
Yel Cont	175632	.28		2288		Off	Off	
Yel Cont	175651	.28		2303		Off	Off	
Yel Cont	175711	.28		2293		Off	Off	
Yel Cont	175728	.28		2304		Off	Off	
Yel Cont	175846	.175		1601		Off	Off	
Yel Cont	175905	.175		1581		Off	Off	
Yel Cont	175922	.175		1592		Off	Off	
Yel Cont	175941	.175		1576		Off	Off	
Yel Cont	180154	.055		778		Off	Off	
Yel Cont	180213	.055		769		Off	Off	
Yel Cont	180232	.055		780		Off	Off	
Yel Cont	180250	.055		772		Off	Off	
Yel Cont	180328	.00		410		Off	Off	
Yel Cont	180347	.00		409		Off	Off	
Yel Cont	180406	.00		411		Off	Off	
Yel Cont	180424	.00		410		Off	Off	
Yel Cont	182303	.00		70		Off	On	
Yel Cont	182315	.00		70		Off	On	
Yel Cont	182327	.00		70		Off	On	
Yel Cont	182339	.00		70		Off	On	
Yel Cont	183417	.055		102		Off	On	
Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	5:55 pm	34.5	-29.7	18.00nA			14	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Yel Cont	183433	.055		102		Off	On	
Yel Cont	183448	.055		102		Off	On	
Yel Cont	183504	.055		102		Off	On	
Yel Cont	183544	.175		152		Off	On	
Yel Cont	183557	.175		152		Off	On	
Yel Cont	183609	.175		152		Off	On	
Yel Cont	183622	.175		152		Off	On	
Yel Cont	183657	.28		186		Off	On	
Yel Cont	183712	.28		186		Off	On	
Yel Cont	183726	.28		186		Off	On	
Yel Cont	183740	.28		186		Off	On	
Yel Cont	183815	.40		220		Off	On	
Yel Cont	183831	.40		219		Off	On	
Yel Cont	183846	.40		220		Off	On	
Yel Cont	183900	.40		219		Off	On	

								

								

								
								
Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	6:45 pm	34.5	-29.7	9.00nA			15	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Red Cont	184757	.27		3118		Off	Off	
Red Cont	184817	.27		3126		Off	Off	
Red Cont	184836	.27		3113		Off	Off	
Red Cont	184854	.27		3122		Off	Off	
Red Cont	184957	.19		2320		Off	Off	
Red Cont	185016	.19		2300		Off	Off	
Red Cont	185033	.19		2333		Off	Off	
Red Cont	185053	.19		2302		Off	Off	
Red Cont	185205	.11		1500		Off	Off	
Red Cont	185225	.11		1518		Off	Off	
Red Cont	185243	.11		1496		Off	Off	
Red Cont	185303	.11		1524		Off	Off	
Red Cont	185453	.035		760		Off	Off	
Red Cont	185513	.035		746		Off	Off	
Red Cont	185529	.035		762		Off	Off	
Red Cont	185549	.035		741		Off	Off	
Red Cont	185629	.00		410		Off	Off	
Red Cont	185645	.00		408		Off	Off	
Red Cont	185704	.00		410		Off	Off	
Red Cont	185721	.00		410		Off	Off	
Red Cont	185756	.00		70		Off	On	
Red Cont	185814	.00		70		Off	On	
Red Cont	185827	.00		70		Off	On	
Red Cont	185839	.00		70		Off	On	
Red Cont	185911	.035		101		Off	On	
Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	5:55 pm	34.5	-29.7	18.00nA			16	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Red Cont	185925	.035		100		Off	On	
Red Cont	185939	.035		102		Off	On	
Red Cont	185955	.035		100		Off	On	
Red Cont	190028	.11		148		Off	On	
Red Cont	190041	.11		148		Off	On	
Red Cont	190055	.11		148		Off	On	
Red Cont	190121	.11		148		Off	On	
Red Cont	190157	.19		188		Off	On	
Red Cont	190213	.19		186		Off	On	
Red Cont	190227	.19		188		Off	On	
Red Cont	190241	.19		188		Off	On	
Red Cont	190311	.27		221		Off	On	
Red Cont	190327	.27		220		Off	On	
Red Cont	190341	.27		220		Off	On	
Red Cont	190355	.27		220		Off	On