Stardust Calibration Log Sheet

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	7:35	33.8	-29.7				1	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Nav Filter	193116	.02		2478		On	Off	
Nav Filter	193133	.02		2291	3215	On	Off	
Nav Filter	193152	.02		2489	3508	On	Off	
Nav Filter	193209	.02		2288		On	Off	
Nav Filter	193228	.02		2479		On	Off	
Nav Filter	193316	.02		2283		On	Off	
Nav Filter	193347	.02		2479		On	Off	
Nav Filter	193417	.02		2287	3402	On	Off	
Nav Filter	193436	.02		2480		On	Off	
Nav Filter	193453	.02		Bad		On	Off	
Nav Filter	193548	.02		Bad		On	Off	
Nav Filter	194027	.02		2300	3223	On	Off	
Nav Filter	194115	.00		417		On	Off	
Nav Filter	194138	.00		413		On	Off	
Nav Filter	194156	.00		414		On	On	
Nav Filter	194215	.00		413		On	On	
Nav Filter	194303	.00		70		On	On	
Nav Filter	194318	.00		70		On	On	
Nav Filter	194341	.00		70		On	On	
Nav Filter	194511	.00		71		On	On	
Nav Filter	194604	.00		70		On	On	
Nav Filter	194619	.00		70		On	On	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	2:33			.981 nA			2	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Nav Filter	194634	.00		70		On	On	
Nav Filter	194647	.00		70		On	On	
Nav Filter	194818	.02		190		On	On	
Nav Filter	194835	.02		182		On	On	
Nav Filter	194851	.02		190		On	On	
Nav Filter	194905	.02		182		On	On	
Nav Filter	194921	.02		190		On	On	
Nav Filter	194949	.02		182		On	On	
Nav Filter	195003	.02		190		On	On	
Nav Filter	195017	.02		182		On	On	
Nav Filter	195031	.02		191		On	On	
Nav Filter	195045	.02		182		On	On	

								

								

								

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	7:58	35	-29.7				3	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
C2	200359	20		442		Off	Off	
C2	200445	20		446		Off	Off	
C2	200525	20		444		Off	Off	
C2	200626	20		1824		On	Off	
C2	200706	20		1821		On	Off	
C2	200745	20		1809		On	Off	
C2	200847	20		162		On	On	
C2	200925	20		162		On	On	
C2	201012	20		162		On	On	
C2	201104	20		74		Off	On	
C2	201147	20		74		Off	On	
C2	201223	20		74		Off	On	
								
Yel Cont	201811	20		2232		On	Off	
Yel Cont	201853	20		2232		On	Off	
Yel Cont	201933	20		2236		On	Off	
Yel Cont	202055	20		183		On	On	
Yel Cont	202133	20		183		On	On	
Yel Cont	202209	20		183		On	On	
								
Red Cont	202552	1.5		174		On	On	
Red Cont	202612	1.5		175		On	On	
Red Cont	202631	1.5		175		On	On	
RedCont	202710	1.5		71		Off	On	
RedCont	202729	1.5		70		Off	On	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	8:36						4	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
RedCont	202809	1.5		70		On	On	
RedCont	202952	2.0		Bad		On	Off	
RedCont	203105	2.0		2621		On	Off	
RedCont	203127	2.0		2608		On	Off	
RedCont	203150	2.0		2608		On	Off	
RedCont	203225	2.0		414		Off	Off	
RedCont	203245	2.0		412		Off	Off	
RedCont	203309	2.0		414		Off	Off	
								
IR Cont	203905	.1		2188		On	Off	
IR Cont	203923	.1		2134		On	Off	
IR Cont	203956	.1		2174		On	Off	
IR Cont	204021	.1		2140		On	Off	
IR Cont	204042	.1		2174		On	Off	
IR Cont	204101	.1		2142		On	Off	
IR Cont	204135	.1		410		Off	Off	
IR Cont	204159	.1		409		Off	Off	
IR Cont	204218	.1		411		Off	Off	
IR Cont	204303	.1		70		Off	On	
IR Cont	204324	.1		70		Off	On	
IR Cont	204341	.1		70		Off	On	
IR Cont	204424	.1		174		On	On	
IR Cont	204440	.1		172		On	On	
IR Cont	204459	.1		174		On	On	
IR Cont	204516	.1		173		On	On	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	8:51 pm	34.7	-29.5				5	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
IR Cont	204533	.1		174		On	On	
IR Cont	204549	.1		172		On	On	
								
NH2	205125	1.50		2556		On	Off	
NH2	205146	1.50		2551		On	Off	
NH2	205207	1.50		2557		On	Off	
NH2	205227	1.50		2556		On	Off	
NH2	205257	1.50		414		Off	Off	
NH2	205319	1.50		413		Off	Off	
NH2	205340	1.50		413		Off	Off	
NH2	205414	1.50		70		Off	On	
NH2	205444	1.50		70		Off	On	
NH2	205501	1.50		70		Off	On	
NH2	205526	1.50		198		On	On	
NH2	205543	1.50		196		On	On	
NH2	205601	1.50		197		On	On	
NH2	205632	1.50		197		On	On	
								
O1D	205957	2.30		2388		On	Off	
O1D	210019	2.30		2389		On	Off	
O1D	210052	2.30		2392		On	Off	
O1D	210114	2.30		2384		On	Off	
O1D	210207	2.30		414		Off	Off	
O1D	210227	2.30		414		Off	Off	
O1D	210248	2.30		416		Off	Off	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	9:02pm						6	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
O1D	210324	2.30		71		Off	On	
O1D	210343	2.30		71		Off	On	
O1D	210415	2.30		72		Off	On	
O1D	210503	2.30		190		On	On	
O1D	210520	2.30		191		On	On	
O1D	210539	2.30		190		On	On	
O1D	210557	2.30		190		On	On	
								
Hi Res	211023	.25		2843		On	Off	
Hi Res	211042	.25		2874		On	Off	
Hi Res	211104	.25		2831		On	Off	
Hi Res	211138	.25		2862		On	Off	
Hi Res	211209	.25		2854		On	Off	
Hi Res	211229	.25		2868		On	Off	
Hi Res	211301	.25		410		Off	Off	
Hi Res	211325	.25		413		Off	Off	
Hi Res	211352	.25		411		Off	Off	
Hi Res	211418	.25		71		Off	On	
Hi Res	211435	.25		71		Off	On	
Hi Res	211450	.25		71		Off	On	
Hi Res	211526	.25		210		On	On	
Hi Res	211542	.25		211		On	On	
Hi Res	211609	.25		210		On	On	
Hi Res	211625	.25		210		On	On	
Hi Res	211641	.25		210		On	On