Stardust Calibration Log Sheet

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/09/98		22	-40				1	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Nav Filter	43446	.02		184		On	On	
Nav Filter	43524	.02		192		On	On	
Nav Filter	43538	.02		184		On	On	
Nav Filter	43552	.02		192		On	On	
Nav Filter	43606	.02		184		On	On	
Nav Filter	43620	.02		192		On	On	
Nav Filter	43646	.02		184		On	On	
Nav Filter	43712	.02		193		On	On	
Nav Filter	43738	.02		185		On	On	
Nav Filter	43752	.02		193		On	On	
Nav Filter	43806	.02		184		On	On	

								

								

								

								

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/09/98	4:54am	21.87	-40.5				2	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
C2	45432	20		468		Off	Off	
C2	45516	20		464		Off	Off	
C2	45612	20		462		Off	Off	
C2	45809	20		1934		On	Off	
C2	45853	20		1936		On	Off	
C2	45931	20		1931		On	Off	
C2	50032	20		169		On	On	
C2	50135	20		169		On	On	
C2	50212	20		168		On	On	
C2	50320	20		76		Off	On	
C2	50356	20		76		Off	On	
C2	50433	20		76		Off	On	
								
Yel Cont	50844	20		2394		On	Off	
Yel Cont	50929	20		2400		On	Off	
Yel Cont	51007	20		2386		On	Off	
Yel Cont	51046	20		2396		On	Off	
Yel Cont	51222	20		190		On	On	
Yel Cont	51308	20		189		On	On	
Yel Cont	51348	20		190		On	On	
								
Red Cont	51537	1.5		180		On	On	
Red Cont	51606	1.5		180		On	On	
Red Cont	51623	1.5		180		On	On	
RedCont	51659	1.5		76		Off	On	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/09/98	5:17am	21.98	-40.5				3	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
RedCont	51716	1.5		76		Off	On	
RedCont	51734	1.5		76		Off	On	
RedCont	51829	2.0		2752		On	Off	
RedCont	51859	2.0		2748		On	Off	
RedCont	51924	2.0		2744		On	Off	
RedCont	52008	2.0		457		Off	Off	
RedCont	52040	2.0		456		Off	Off	
RedCont	52103	2.0		456		Off	Off	
								
IR Cont	52239	.1		2201		On	Off	
IR Cont	52308	.1		2164		On	Off	
IR Cont	52328	.1		2204		On	Off	
IR Cont	52358	.1		2164		On	Off	
IR Cont	52417	.1		2198		On	Off	
IR Cont	52438	.1		2171		On	Off	
IR Cont	52518	.1		456		Off	Off	
IR Cont	52538	.1		456		Off	Off	
IR Cont	52600	.1		454		Off	Off	
IR Cont	52639	.1		76		Off	On	
IR Cont	52701	.1		76		Off	On	
IR Cont	52719	.1		76		Off	On	
IR Cont	52802	.1		176		On	On	
IR Cont	52825	.1		175		On	On	
IR Cont	52844	.1		177		On	On	
IR Cont	52912	.1		174		On	On	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/09/98	8:51 pm	22	-40				4	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
IR Cont	52929	.1		176		On	On	
IR Cont	52945	.1		175		On	On	
								
NH2	53215	1.50		2754		On	Off	
NH2	53249	1.50		2750		On	Off	
NH2	53311	1.50		2742		On	Off	
NH2	53333	1.50		2728		On	Off	
NH2	53411	1.50		456		Off	Off	
NH2	53431	1.50		455		Off	Off	
NH2	53453	1.50		456		Off	Off	
NH2	53535	1.50		76		Off	On	
NH2	53556	1.50		76		Off	On	
NH2	53627	1.50		76		Off	On	
NH2	53658	1.50		204		On	On	
NH2	53717	1.50		204		On	On	
NH2	53736	1.50		204		On	On	
NH2	53757	1.50		204		On	On	
								
O1D	54019	2.30		2608		On	Off	
O1D	54056	2.30		Bad		On	Off	
O1D	54136	2.30		2584		On	Off	
O1D	54201	2.30		2586		On	Off	
O1D	54224	2.30		2590		On	Off	
O1D	54431	2.30		456		Off	Off	
O1D	54450	2.30		457		Off	Off	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/09/98	9:02pm	22	-40				5	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
O1D	54513	2.30		456		Off	Off	
O1D	54554	2.30		76		Off	On	
O1D	54616	2.30		76		Off	On	
O1D	54637	2.30		75		Off	On	
O1D	54711	2.30		198		On	On	
O1D	54730	2.30		199		On	On	
O1D	54751	2.30		198		On	On	
O1D	54820	2.30		198		On	On	
								
Hi Res	55251	.25		3038		On	Off	
Hi Res	55321	.25		Bad		On	Off	
Hi Res	55403	.25		3058		On	Off	
Hi Res	55422	.25		3058		On	Off	
Hi Res	55522	.25		3040		On	Off	
Hi Res	55543	.25		3049		On	Off	
								
Hi Res	55624	.25		457		Off	Off	
Hi Res	55644	.25		456		Off	Off	
Hi Res	55704	.25		456		Off	Off	
Hi Res	55743	.25		76		Off	On	
Hi Res	55803	.25		76		Off	On	
Hi Res	55820	.25		76		Off	On	
Hi Res	55835	.25		76		Off	On	
Hi Res	55916	.25		218		On	On	
Hi Res	55933	.25		217		On	On	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/09/98	9:21 pm	22	-40				6	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Hi Res	55950	.25		218		On	On	
Hi Res	60006	.25		216		On	On	
Hi Res	60059	.25		217		On	On	
Hi Res	60119	.25		217		On	On