Stardust Calibration Log Sheet

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98	7:16am	22	-40	.777 nA			1	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Nav Filter	71201	.070		3108		Off	Off	
Nav Filter	71233	.070		3184		Off	Off	
Nav Filter	71256	.070		3113		Off	Off	
Nav Filter	71314	.070		3176		Off	Off	
Nav Filter	71351	.045		2140		Off	Off	
Nav Filter	71420	.045		2216		Off	Off	
Nav Filter	71441	.045		2139		Off	Off	
Nav Filter	71511	.045		2206		Off	Off	
Nav Filter	71654	.025		1434		Off	Off	
Nav Filter	71715	.025		1368		Off	Off	
Nav Filter	71735	.025		1433		Off	Off	
Nav Filter	71807	.025		1370		Off	Off	
Nav Filter	73201	.01		853		Off	Off	
Nav Filter	73257	.01		782		Off	Off	
Nav Filter	73315	.01		854		Off	Off	
Nav Filter	73348	.01		780		Off	Off	
Nav Filter	73406	.01		853		Off	Off	
Nav Filter	73423	.01		783		Off	Off	
Nav Filter	73531	.00		456		Off	Off	
Nav Filter	73550	.00		454		Off	Off	
Nav Filter	73610	.00		457		Off	Off	
Nav Filter	73640	.00		457		Off	Off	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98		22	-40	.776nA			2	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Nav Filter	74257	.07		224		Off	On	
Nav Filter	74344	.07		220		Off	On	
Nav Filter	74400	.07		222		Off	On	
Nav Filter	74416	.07		220		Off	On	
Nav Filter	74512	.045		182		Off	On	
Nav Filter	745.7	.045		180		Off	On	
Nav Filter	74541	.045		182		Off	On	
Nav Filter	74556	.045		180		Off	On	
Nav Filter	74622	.025		144		Off	On	
Nav Filter	74648	.025		140		Off	On	
Nav Filter	74706	.025		144		Off	On	
Nav Filter	74721	.025		140		Off	On	
Nav Filter	74758	.025		144		Off	On	
Nav Filter	74816	.025		140		Off	On	
Nav Filter	75000	.01		108		Off	On	
Nav Filter	75018	.01		102		Off	On	
Nav Filter	75036	.01		108		Off	On	
Nav Filter	75053	.01		Bad		Off	On	
Nav Filter	75121	.01		Bad		Off	On	
Nav Filter	75152	.01		102		Off	On	
Nav Filter	75209	.01		108		Off	On	
Nav Filter	75240	.01		102		Off	On	
Nav Filter	75921	.00		75		Off	On	
Nav Filter	75944	.00		Bad		Off	On	
Nav Filter	80003	.00		Bad		Off	On	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98		22	-40				3	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Nav Filter	80032	.00		Bad		Off	On	
Nav Filter	80056	.00		Bad		Off	On	
Nav Filter	80118	.00		76		Off	On	
Nav Filter	80139	.00		76		Off	On	
Nav Filter	80205	.00		76		Off	On	
Nav Filter	80223	.00		75		Off	On	

								

								

								

								

								

								

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98		22	-40	.920			4	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Hi Res	81533	.110		3090		Off	Off	
Hi Res	81601	.110		3142		Off	Off	
Hi Res	81620	.110		3104		Off	Off	
Hi Res	81641	.110		3135		Off	Off	
Hi Res	81739	.08		2410		Off	Off	
Hi Res	81758	.08		2367		Off	Off	
Hi Res	81819	.08		2408		Off	Off	
Hi Res	81828	.08		2366		Off	Off	
Hi Res	81916	.05		1672		Off	Off	
Hi Res	82007	.05		1636		Off	Off	
Hi Res	82029	.05		1680		Off	Off	
Hi Res	82055	.05		1635		Off	Off	
Hi Res	82250	.02		942		Off	Off	
Hi Res	82339	.02		904		Off	Off	
Hi Res	82357	.02		945		Off	Off	
Hi Res	82416	.02		900		Off	Off	
Hi Res	82444	.005		583		Off	Off	
Hi Res	82514	.005		536		Off	Off	
Hi Res	82554	.005		582		Off	Off	
Hi Res	82615	.005		534		Off	Off	
Hi Res	82635	.005		585		Off	Off	
Hi Res	82654	.005		534		Off	Off	
Hi Res	82721	.000		456		Off	Off	
Hi Res	82742	.000		454		Off	Off	
Hi Res	82804	.000		556		Off	Off	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98		22	-40	.920			5	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Hi Res	82910	.110		222		Off	On	
Hi Res	82946	.110		220		Off	On	
Hi Res	83001	.110		221		Off	On	
Hi Res	83019	.110		220		Off	On	
Hi Res	83042	.08		192		Off	On	
Hi Res	83058	.08		190		Off	On	
Hi Res	83113	.08		192		Off	On	
Hi Res	83128	.08		190		Off	On	
Hi Res	83201	.05		157		Off	On	
Hi Res	83228	.05		155		Off	On	
Hi Res	83243	.05		158		Off	On	
Hi Res	83302	.05		156		Off	On	
Hi Res	83349	.02		114		Off	On	
Hi Res	83452	.02		112		Off	On	
Hi Res	83507	.02		115		Off	On	
Hi Res	83526	.02		112		Off	On	
Hi Res	83552	.005		86		Off	On	
Hi Res	83608	.005		82		Off	On	
Hi Res	83634	.005		Bad		Off	On	
Hi Res	91747	.005		Bad		Off	On	
Hi Res	92004	.005		82		Off	On	
Hi Res	92600	.005		87		Off	On	
Hi Res	92616	.005		82		Off	On	
Hi Res	92632	.005		88		Off	On	
Hi Res	92648	.005		82		Off	On	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98		22	-40	.920			6	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Hi Res	92703	.005		87		Off	On	
Hi Res	92729	.005		82		Off	On	
Hi Res	92833			Bad		Off	On	
Hi Res	92448			Bad		Off	On	
Hi Res	104150	.00		76		Off	On	
Hi Res	104212	.00		76		Off	On	
Hi Res	104227	.00		76		Off	On	
Hi Res	104242	.00		76		Off	On	
Hi Res	104257			76		Off	On	

								

								

								

								

								

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98		21.6	-40.8	3.745nA			5	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
NH2	104559	.25		Bad		Off	Off	
NH2	104639	.25		3122		Off	Off	
NH2	104712	.25		3114		Off	Off	
NH2	104739	.25		3134		Off	Off	
NH2	104831	.18		2390		Off	Off	
NH2	104853	.18		2362		Off	Off	
NH2	104912	.18		2390		Off	Off	
NH2	104233	.18		2365		Off	Off	
NH2	105022	.10		1515		Off	Off	
NH2	105039	.10		1530		Off	Off	
NH2	105110	.10		1510		Off	Off	
NH2	105132	.10		1526		Off	Off	
NH2	105219	.03		777		Off	Off	
NH2	105238	.03		761		Off	Off	
NH2	105302	.03		780		Off	Off	
NH2	105324	.03		763		Off	Off	
NH2	105356	.00		457		Off	Off	
NH2	105414	.00		458		Off	Off	
NH2	105448	.00		458		Off	Off	
NH2	105556	.03		103		Off	On	
NH2	105616	.03		101		Off	On	
NH2	105634	.03		102		Off	On	
NH2	105651	.03		100		Off	On	
NH2	105721	.10		150		Off	On	
NH2	105738	.10		149		Off	On	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98				3.771			6	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
NH2	105755	.10		150		Off	On	
NH2	105823	.10		148		Off	On	
NH2	1059	.18		191		Off	On	
NH2	105927	.18		190		Off	On	
NH2	105953	.18		192		Off	On	
NH2	106020	.18		190		Off	On	
NH2	110047	.25		221		Off	On	
NH2	110106	.25		220		Off	On	
NH2	110137	.25		221		Off	On	
NH2	110155	.25		221		Off	On	
								
O1D	110406	.32		3187		Off	Off	
O1D	110438	.32		3168		Off	Off	
O1D	110459	.32		3177		Off	Off	
O1D	110520	.32		3154		Off	Off	
O1D	110551	.225		2365		Off	Off	
O1D	110614	.225		2354		Off	Off	
O1D	110635	.225		2370		Off	Off	
O1D	110656	.225		2360		Off	Off	
O1D	110748	.13		1560		Off	Off	
O1D	110809	.13		1547		Off	Off	
O1D	110830	.13		1558		Off	Off	
O1D	110852	.13		1548		Off	Off	
O1D	110918	.04		796		Off	Off	
O1D	110939	.04		782		Off	Off	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98	4:03 pm		-30				7	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
O1D	111001	.04	796			Off	Off	
O1D	111023	.04	782			Off	Off	
O1D	111101	.00	456			Off	Off	
O1D	111131	.00	459			Off	Off	
O1D	111152	.00	459			Off	Off	
O1D	111213	.00	458			Off	Off	
O1D								
O1D	111326	.04	104			Off	On	
O1D	111345	.04	102			Off	On	
O1D	111402	.04	104			Off	On	
O1D	111419	.04	104			Off	On	
O1D	111442	.13	152			Off	On	
O1D	111509	.13	150			Off	On	
O1D	111543	.13	151			Off	On	
O1D	111601	.13	150			Off	On	
O1D	111625	.225	190			Off	On	
O1D	111642	.225	190			Off	On	
O1D	111700	.225	190			Off	On	
O1D	111717	.225	190			Off	On	
O1D	111740	.32	223			Off	On	
O1D	111758	.32	222			Off	On	
O1D	111815	.32	222			Off	On	
O1D	111849	.32	222			Off	On	
O1D	111913	.00	76			Off	On	
O1D	111932	.00	76			Off	On	
O1D	111950	.00		76		Off	On	
O1D	112007	.00		76		Off	On	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98	11:26 pm	21.8	-40.6	16.896nA			8	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
C2	112238	.36		Bad		Off	Off	
C2	112346	.36		3190		Off	Off	
C2	112415	.36		3110				
 C2	112437	.36		3132		Off	Off	
C2	112457	.36		3096		Off	Off	
C2	112515	.36		3115		Off	Off	
C2	112631	.26		2362		Off	Off	
C2	112651	.26		2361		Off	Off	
C2	112721	.26		2358		Off	Off	
C2	112742	.26		2378		Off	Off	
C2	112822	.15		1546		Off	Off	
C2	112843	.15		1569		Off	Off	
C2	112903	.15		1546		Off	Off	
C2	112923	.15		1564		Off	Off	
C2	112953	.05		812		Off	Off	
C2	113014	.05		828		Off	Off	
C2	113032	.05		814		Off	Off	
C2	113055	.05		828		Off	Off	
C2	113119	.00		457		Off	Off	
C2	113149	.00		458		Off	Off	
C2	113211	.00		458		Off	Off	
C2	113232	.00		455		Off	Off	
C2	113258	.00		76		Off	On	
C2	113337	.00		76		Off	On	
C2	113358	.00		76		Off	On	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98				16.795nA			9	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
C2	113414	.00		76		Off	On	
C2	113448	.05		105		Off	On	
C2	113506	.05		106		Off	On	
C2	113533	.05		105		Off	On	
C2	113551	.05		106		Off	On	
C2	113611	.15		150		Off	On	
C2	113629	.15		152		Off	On	
C2	113704	.15		150		Off	On	
C2	113724	.15		152		Off	On	
C2	113746	.26		190		Off	On	
C2	113803	.26		190		Off	On	
C2	113819	.26		190		Off	On	
C2	113838	.26		190		Off	On	
C2	113900	.36		220		Off	On	
C2	113917	.36		220		Off	On	
C2	113935	.36		220		Off	On	
C2	114008	.36		220		Off	On	

								

								

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98	11:45	2192	-	18.164nA			10	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
IR Cont	114945	.16		3086		Off	Off	
IR Cont	115021	.16		3118		Off	Off	
IR Cont	115045	.16		3086		Off	Off	
IR Cont	115109	.16		3132		Off	Off	
IR Cont	115135	.12		2424		Off	Off	
IR Cont	115155	.12		2450		Off	Off	
IR Cont	115216	.12		2417		Off	Off	
IR Cont	115236	.12		2456		Off	Off	
IR Cont	115303	.07		1592		Off	Off	
IR Cont	115329	.07		1627		Off	Off	
IR Cont	115349	.07		1598		Off	Off	
IR Cont	115407	.07		1626		Off	Off	
IR Cont	115433	.025		846		Off	Off	
IR Cont	115452	.025		878		Off	Off	
IR Cont	115515	.025		846		Off	Off	
IR Cont	115538	.025		872		Off	Off	
IR Cont	115605	.00		456		Off	Off	
IR Cont	115626	.00		457		Off	Off	
IR Cont	115647	.00		457		Off	Off	
IR Cont	115707	.00		457		Off	Off	
IR Cont	115736	.00		76		Off	On	
IR Cont	115753	.00		76		Off	On	
IR Cont	115816	.00		76		Off	On	
IR Cont	115833	.00		75		Off	On	
IR Cont	115903	.025		107		Off	On	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98	12:03						11	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
IR Cont	115919	.025		110		Off	On	
IR Cont	115936	.025		107		Off	On	
IR Cont	115954	.025		110		Off	On	
IR Cont	120015	.07		153		Off	On	
IR Cont	120033	.07		154		Off	On	
IR Cont	120047	.07		153		Off	On	
IR Cont	120104	.07		155		Off	On	
IR Cont	120126	.12		192		Off	On	
IR Cont	120141	.12		194		Off	On	
IR Cont	120158	.12		192		Off	On	
IR Cont	120213	.12		194		Off	On	
IR Cont	120234	.16		220		Off	On	
IR Cont	120252	.16		220		Off	On	
IR Cont	120307	.16		219		Off	On	
IR Cont	120323	.16		220		Off	On	

								

								

								

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98				17.184nA			12	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Yel Cont	120804	.40		3126		Off	Off	
Yel Cont	120825	.40		3122		Off	Off	
Yel Cont	120846	.40		3124		Off	Off	
Yel Cont	120908	.40		3152		Off	Off	
Yel Cont	120934	.28		2334		Off	Off	
Yel Cont	120957	.28		2327		Off	Off	
Yel Cont	121017	.28		2336		Off	Off	
Yel Cont	121037	.28		2326		Off	Off	
Yel Cont	121102	.175		1632		Off	Off	
Yel Cont	121123	.175		1619		Off	Off	
Yel Cont	121143	.175		1622		Off	Off	
Yel Cont	121203	.175		1618		Off	Off	
Yel Cont	121230	.055		826		Off	Off	
Yel Cont	121252	.055		810		Off	Off	
Yel Cont	121312	.055		830		Off	Off	
Yel Cont	121336	.055		814		Off	Off	
Yel Cont	121433	.00		456		Off	Off	
Yel Cont	121454	.00		456		Off	Off	
Yel Cont	121514	.00		458		Off	Off	
Yel Cont	121533	.00		457		Off	Off	
Yel Cont	121558	.00		76		Off	On	
Yel Cont	121615	.00		76		Off	On	
Yel Cont	121630	.00		76		Off	On	
Yel Cont	121646	.00		75		Off	On	
Yel Cont	121706	.055		106		Off	On	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98				17.293			13	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Yel Cont	121723	.055		105		Off	On	
Yel Cont	121740	.055		106		Off	On	
Yel Cont	121758	.055		105		Off	On	
Yel Cont	121818	.175		155		Off	On	
Yel Cont	121836	.175		154		Off	On	
Yel Cont	121853	.175		155		Off	On	
Yel Cont	121911	.175		154		Off	On	
Yel Cont	121931	.28		188		Off	On	
Yel Cont	121949	.28		188		Off	On	
Yel Cont	122006	.28		189		Off	On	
Yel Cont	122024	.28		188		Off	On	
Yel Cont	122045	.40		222		Off	On	
Yel Cont	122101	.40		220		Off	On	
Yel Cont	122118	.40		220		Off	On	
Yel Cont	122137	.40		221		Off	On	

								

								

								

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98			-40.5	8.754nA			14	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Red Cont	122706	.27		3142		Off	Off	
Red Cont	122729	.27		3124		Off	Off	
Red Cont	122750	.27		3146		Off	Off	
Red Cont	122811	.27		3134		Off	Off	
Red Cont	122834	.19		2332		Off	Off	
Red Cont	122854	.19		2335		Off	Off	
Red Cont	122915	.19		2368		Off	Off	
Red Cont	122936	.19		2333		Off	Off	
Red Cont	123003	.11		1560		Off	Off	
Red Cont	123024	.11		1541		Off	Off	
Red Cont	123044	.11		1562		Off	Off	
Red Cont	123104	.11		1538		Off	Off	
Red Cont	123130	.035		808		Off	Off	
Red Cont	123150	.035		790		Off	Off	
Red Cont	123211	.035		810		Off	Off	
Red Cont	123232	.035		796		Off	Off	
Red Cont	123259	.00		456		Off	Off	
Red Cont	123319	.00		458		Off	Off	
Red Cont	123339	.00		457		Off	Off	
Red Cont	123400	.00		455		Off	Off	
Red Cont	123436	.00		76		Off	On	
Red Cont	123455	.00		76		Off	On	
Red Cont	123511	.00		76		Off	On	
Red Cont	123530	.00		76		Off	On	
Red Cont	123554	.035		104		Off	On	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98							15	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Red Cont	123611	.035		104		Off	On	
Red Cont	123628	.035		105		Off	On	
Red Cont	123645	.035		104		Off	On	
Red Cont	123705	.11		151		Off	On	
Red Cont	123725	.11		150		Off	On	
Red Cont	123743	.11		150		Off	On	
Red Cont	123800	.11		150		Off	On	
Red Cont	123821	.19		190		Off	On	
Red Cont	123837	.19		188		Off	On	
Red Cont	123856	.19		189		Off	On	
Red Cont	123913	.19		188		Off	On	
Red Cont	123932	.27		222		Off	On	
Red Cont	123951	.27		221		Off	On	
Red Cont	124007	.27		222		Off	On	
Red Cont	124025	.27		220		Off	On