Stardust Calibration Log Sheet

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98	10:39am	-8	-50	.7761 nA			1	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Nav Filter	103531	.070		3260		Off	Off	
Nav Filter	103602	.070		3198		Off	Off	
Nav Filter	103624	.070		3272		Off	Off	
Nav Filter	103646	.070		3194		Off	Off	
Nav Filter	103713	.045		2283		Off	Off	
Nav Filter	103735	.045		2217		Off	Off	
Nav Filter	103757	.045		2278		Off	Off	
Nav Filter	103831	.045		2214		Off	Off	
Nav Filter	103908	.025		1491		Off	Off	
Nav Filter	103941	.025		1424		Off	Off	
Nav Filter	104003	.025		1488		Off	Off	
Nav Filter	104025	.025		1420		Off	Off	
Nav Filter	104056	.01		912		Off	Off	
Nav Filter	104119	.01		837		Off	Off	
Nav Filter	104141	.01		906		Off	Off	
Nav Filter	104203	.01		833		Off	Off	
Nav Filter	104250	.00		504		Off	Off	
Nav Filter	104326	.00		503		Off	Off	
Nav Filter	104358	.00		500		Off	Off	
Nav Filter	104420	.00		504		Off	Off	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98		-8	-50.7	.910			2	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Hi Res	104831	.110		3194		Off	Off	
Hi Res	104853	.110		3144		Off	Off	
Hi Res	104915	.110		3190		Off	Off	
Hi Res	104948	.110		3144		Off	Off	
Hi Res	105113	.08		2456		Off	Off	
Hi Res	105145	.08		2419		Off	Off	
Hi Res	105223	.08		2466		Off	Off	
Hi Res	105255	.08		2410		Off	Off	
Hi Res	105337	.05		1728		Off	Off	
Hi Res	105359	.05		1682		Off	Off	
Hi Res	105421	.05		1728		Off	Off	
Hi Res	105444	.05		1681		Off	Off	
Hi Res	105526	.02		994		Off	Off	
Hi Res	105548	.02		948		Off	Off	
Hi Res	105620	.02		995		Off	Off	
Hi Res	105652	.02		951		Off	Off	
Hi Res	105723	.02		998		Off	Off	
Hi Res	105741	.02		953		Off	Off	
Hi Res	105759	.02				Off	Off	
Hi Res	110439	.005		590		Off	Off	
Hi Res	110503	.005		636		Off	Off	
Hi Res	110524	.005		586		Off	Off	
Hi Res	110543	.005		632		Off	Off	
Hi Res	110603	.005		584		Off	Off	
Hi Res	110622	.005		632		Off	Off	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98		-8	-50.7	.910			3	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Hi Res	111845	.110		222		Off	On	
Hi Res	111902	.110		224		Off	On	
Hi Res	111935	.110		222		Off	On	
Hi Res	111953	.110		224		Off	On	
Hi Res	111719	.08		192		Off	On	
Hi Res	111735	.08		194		Off	On	
Hi Res	111803	.08		193		Off	On	
Hi Res	111821	.08		194		Off	On	
Hi Res	111602	.05		158		Off	On	
Hi Res	111619	.05		161		Off	On	
Hi Res	111637	.05		158		Off	On	
Hi Res	111654	.05		160		Off	On	
Hi Res	111348	.02		114		Off	On	
Hi Res	111405	.02		118		Off	On	
Hi Res	111432	.02		115		Off	On	
Hi Res	111449	.02		118		Off	On	
Hi Res	111101	.005		86		Off	On	
Hi Res	111117	.005		91		Off	On	
Hi Res	111134	.005		87		Off	On	
Hi Res	111201	.005		90		Off	On	
Hi Res	111229	.005		87		Off	On	
Hi Res	111246	.005		91		Off	On	
Hi Res	111305	.005		87		Off	On	
Hi Res	111322	.005		91		Off	On	
Hi Res		.005				Off	On	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98		-8	-50.7	.910			4	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Hi Res		.005				Off	On	
Hi Res		.005				Off	On	
Hi Res						Off	On	
Hi Res						Off	On	
Hi Res	110928	.00		80		Off	On	
Hi Res	111000	.00		80		Off	On	
Hi Res	111021	.00		80		Off	On	
Hi Res	111037	.00		80		Off	On	
Hi Res	111507	.20		114		Off	On	
Hi Res	111523	.20		118		Off	On	
								
Hi Res	110654	.00		504		Off	Off	
Hi Res	110714	.00		503		Off	Off	
Hi Res	110746	.00		502		Off	Off	
Hi Res	110807	.00		504		Off	Off	

								

								

								

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98		-8	-51.07	3.745nA			5	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
NH2	114542	.25		3236		Off	Off	
NH2	114519	.25		3220		Off	Off	
NH2	114447	.25		3230		Off	Off	
NH2	114415	.25		3216		Off	Off	
NH2	114350	.18		2468		Off	Off	
NH2	114327	.18		2449		Off	Off	
NH2	114305	.18		2466		Off	Off	
NH2	114243	.18		2444		Off	Off	
NH2	114213	.10		1595		Off	Off	
NH2	114147	.10		1574		Off	Off	
NH2	114115	.10		1596		Off	Off	
NH2	114044	.10		1572		Off	Off	
NH2	114015	.03		830		Off	Off	
NH2	113951	.03		807		Off	Off	
NH2	113927	.03		829		Off	Off	
NH2	113905	.03		806		Off	Off	
NH2	113749	.00		504		Off	Off	
NH2	113831	.00		504		Off	Off	
NH2	113345	.00		80		Off	On	
NH2	113327	.00		79		Off	On	
NH2	113307	.00		79		Off	On	
NH2	113247	.03		106		Off	On	
NH2	113227	.03		105		Off	On	
NH2	113209	.03		106		Off	On	
NH2	113152	.03		105		Off	On	
NH2	113024	.10		152		Off	On	
NH2	113042	.10		154		Off	On	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98		-8	-51.07	3.751nA			6	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
NH2	113109	.10		152		Off	On	
NH2	113127	.10		154		Off	On	
NH2	112852	.18		194		Off	On	
NH2	112910	.18		194		Off	On	
NH2	112927	.18		194		Off	On	
NH2	112946	.18		194		Off	On	
NH2	112737	.25		224		Off	On	
NH2	112754	.25		225		Off	On	
NH2	112811	.25		224		Off	On	
NH2	112829	.25		224		Off	On	
								
O1D	115102	.32		3262		Off	Off	
O1D	115124	.32		3282		Off	Off	
O1D	115147	.32		3260		Off	Off	
O1D	115210	.32		3276		Off	Off	
O1D	115243	.225		2429		Off	Off	
O1D	115315	.225		2457		Off	Off	
O1D	115354	.225		2434		Off	Off	
O1D	115417	.225		2452		Off	Off	
O1D	115445	.13		1616		Off	Off	
O1D	115509	.13		1634		Off	Off	
O1D	115531	.13		1614		Off	Off	
O1D	115557	.13		1630		Off	Off	
O1D	115624	.04		836		Off	Off	
O1D	115700	.04		848		Off	Off	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/08/98		-8	-50				7	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
O1D	115732	.04	831			Off	Off	
O1D	115754	.04	846			Off	Off	
O1D	115820	.00	504			Off	Off	
O1D	115841	.00	502			Off	Off	
								
O1D	115911	.00	80			Off	On	
O1D	115938	.00	80			Off	On	
O1D	120006	.04	106			Off	On	
O1D	120035	.04	108			Off	On	
O1D	120103	.04	107			Off	On	
O1D	120123	.04	108			Off	On	
O1D	120146	.13	154			Off	On	
O1D	120204	.13	155			Off	On	
O1D	120224	.13	154			Off	On	
O1D	120244	.13	155			Off	On	
O1D	120314	.225	193			Off	On	
O1D	120333	.225	194			Off	On	
O1D	120402	.225	192			Off	On	
O1D	120431	.225	194			Off	On	
O1D	120457	.32	226			Off	On	
O1D	120516	.32	226			Off	On	
O1D	120536	.32	226			Off	On	
O1D	120556	.32	226			Off	On	
O1D		.00				Off	On	
O1D		.00				Off	On	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98		-8	-50.97C	16.794nA			8	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	

C2	122821	.36		3256		Off	Off	
C2	122743	.36		3236		Off	Off	
C2	122720	.36		3256		Off	Off	
C2	122658	.36		3243		Off	Off	
C2	122632	.26		2494		Off	Off	
C2	122610	.26		2474		Off	Off	
C2	122547	.26		2496		Off	Off	
C2	122525	.26		2481		Off	Off	
C2	122458	.15		1650		Off	Off	
C2	122426	.15		1636		Off	Off	
C2	122403	.15		1649		Off	Off	
C2	122341	.15		1634		Off	Off	
C2	122313	.05		889		Off	Off	
C2	122250	.05		871		Off	Off	
C2	122228	.05		886		Off	Off	
C2	122205	.05		869		Off	Off	
C2	122130	.00		500		Off	Off	
C2	122045	.00		Bad		Off	Off	
C2	122007	.00		502		Off	Off	

								

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98		-8	-50.	16.807nA			9	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
C2	121924	.00		80		Off	On	
C2	121942	.00		80		Off	On	
C2	121852	.05		110		Off	On	
C2	121833	.05		110		Off	On	
C2	121814	.05		110		Off	On	
C2	121754	.05		109		Off	On	
C2	121729	.15		156		Off	On	
C2	121710	.15		156		Off	On	
C2	121650	.15		156		Off	On	
C2	121631	.15		156		Off	On	
C2	121558	.26		196		Off	On	
C2	121539	.26		194		Off	On	
C2	121519	.26		196		Off	On	
C2	121500	.26		195		Off	On	
C2	121436	.36		225		Off	On	
C2	121416	.36		225		Off	On	
C2	121356	.36		226		Off	On	
C2	121329	.36		226		Off	On	

								

								

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98			-50	18.164nA			10	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
IR Cont	132718	.16		3098		Off	Off	
IR Cont	132800	.16		3143		Off	Off	
IR Cont	132823	.16		3100		Off	Off	
IR Cont	132845	.16		3148		Off	Off	
IR Cont	132930	.12		2443		Off	Off	
IR Cont	132952	.12		2478		Off	Off	
IR Cont	133035	.12		2454		Off	Off	
IR Cont	133108	.12		2481		Off	Off	
IR Cont	133131	.12		2453		Off	Off	
IR Cont	133231	.07		1616		Off	Off	
IR Cont	133300	.07		1626		Off	Off	
IR Cont	133322	.07		1658		Off	Off	
IR Cont								
IR Cont	133424	.025		914		Off	Off	
IR Cont	133502	.025		880		Off	Off	
IR Cont	133524	.025		916		Off	Off	
IR Cont	133546	.025		884		Off	Off	
IR Cont	133614	.00		502		Off	Off	
IR Cont	133636	.00		504		Off	Off	
IR Cont	133344	.07		1618		Off	Off	
IR Cont	133709	.00		80		Off	On	
IR Cont	133756	.00		80		Off	On	
IR Cont	133835	.025		112		Off	On	

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98		-8	-50.8				11	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
IR Cont	133854	.025		110		Off	On	
IR Cont	133913	.025		112		Off	On	
IR Cont	133932	.025		110		Off	On	
IR Cont	134050	.07		154		Off	On	
IR Cont	134118	.07		156		Off	On	
IR Cont	134147	.07		155		Off	On	
IR Cont	134206	.07		156		Off	On	
IR Cont	134239	.12		194		Off	On	
IR Cont	134258	.12		194		Off	On	
IR Cont	134318	.12		194		Off	On	
IR Cont	134338	.12		194		Off	On	
IR Cont	134410	.16		220		Off	On	
IR Cont	134441	.16		221		Off	On	
IR Cont	134500	.16		220		Off	On	
IR Cont	134519	.16		222		Off	On	

								

								

								

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98		-8	-50	17.184nA			12	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Yel Cont	140300	.40		3254		Off	Off	
Yel Cont	140237	.40		3242		Off	Off	
Yel Cont	140214	.40		3251		Off	Off	
Yel Cont	140149	.40		3232		Off	Off	
Yel Cont	140051	.28		2428		Off	Off	
Yel Cont	140012	.28		2412		Off	Off	
Yel Cont	135950	.28		2422		Off	Off	
Yel Cont	135928	.28		2420		Off	Off	
Yel Cont	135902	.175		1706		Off	Off	
Yel Cont	135839	.175		1692		Off	Off	
Yel Cont	135816	.175		1706		Off	Off	
Yel Cont	135745	.175		1690		Off	Off	
Yel Cont	135707	.055		882		Off	Off	
Yel Cont	135645	.055		870		Off	Off	
Yel Cont	135622	.055		884		Off	Off	
Yel Cont	135601	.055		866		Off	Off	
Yel Cont	135510	.00		502		Off	Off	
Yel Cont	135442	.00		502		Off	Off	
Yel Cont	135412	.00		80		Off	On	
Yel Cont	135344	.00		80		Off	On	
Yel Cont	135320	.055		110		Off	On	

								

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98		-8	-50.8	17.2 nA			13	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Yel Cont	135303	.055		109		Off	On	
Yel Cont	135244	.055		110		Off	On	
Yel Cont	135225	.055		109		Off	On	
Yel Cont	135202	.175		159		Off	On	
Yel Cont	135134	.175		158		Off	On	
Yel Cont	135057	.175		159		Off	On	
Yel Cont	135038	.175		158		Off	On	
Yel Cont	135012	.28		192		Off	On	
Yel Cont	134953	.28		192		Off	On	
Yel Cont	134934	.28		192		Off	On	
Yel Cont	134915	.28		192		Off	On	
Yel Cont	134837	.40		226		Off	On	
Yel Cont	134809	.40		224		Off	On	
Yel Cont	134749	.40		226		Off	On	
Yel Cont	134728	.40		225		Off	On	

								

								

								

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98		-8	-50	8.nA			14	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Red Cont	130519	.27		3258		Off	Off	
Red Cont	130545	.27		3246		Off	Off	
Red Cont	130616	.27		3250		Off	Off	
Red Cont	130648	.27		3229		Off	Off	
Red Cont	130716	.19		2434		Off	Off	
Red Cont	130738	.19		2422		Off	Off	
Red Cont	130800	.19		2446		Off	Off	
Red Cont	130836	.19		2420		Off	Off	
Red Cont	130902	.11		1619		Off	Off	
Red Cont	130936	.11		1596		Off	Off	
Red Cont	130959	.11		1632		Off	Off	
Red Cont	131021	.11		1603		Off	Off	
Red Cont	131047	.035		857		Off	Off	
Red Cont	131109	.035		842		Off	Off	
Red Cont	131141	.035		863		Off	Off	
Red Cont	131203	.035		840		Off	Off	
Red Cont	131238	.00		502		Off	Off	
Red Cont	131301	.00		500		Off	Off	
Red Cont	131329	.00		80		Off	On	
Red Cont	131349	.00		80		Off	On	
Red Cont	131417	.035		108		Off	On	

								

Date	Time	Camera Temp	CCD Temp	Rad. Start	Rad. Finish	Rad. Filter	Sheet	
04/10/98		-8	-50.8				15	
Filter	Image Name	Exposure 
(sec)	Min DN	Mean DN	Max DN	Cal.
Lamp	Data
Comp.	
Red Cont	131520	.035		107		Off	On	
Red Cont	131539	.035		108		Off	On	
Red Cont	131608	.035		107		Off	On	
Red Cont	131629	.11		155		Off	On	
Red Cont	131652	.11		153		Off	On	
Red Cont	131714	.11		155		Off	On	
Red Cont	131733	.11		154		Off	On	
Red Cont	131756	.19		193		Off	On	
Red Cont	131815	.19		192		Off	On	
Red Cont	131834	.19		194		Off	On	
Red Cont	131806	.19		192		Off	On	
Red Cont	131938	.27		226		Off	On	
Red Cont	131957	.27		224		Off	On	
Red Cont	132017	.27		226		Off	On	
Red Cont	132036	.27		225		Off	On